	阀门技术英语 
 


	1.阀门种类术语

Angle Stop Valves

角式截止阀

Angle Throttle Valves

角式节流阀

Angle Type Globe Valves

角式截止阀

Butterfly Type Non-slam Check

蝶式缓冲止回阀

Butterfly Valves with Gear Actuator

蜗轮传动蝶阀

Cock

二通

CQ Thread Ball Valves

CQ螺纹球阀

Diaphragm Valves

隔膜阀

Double Disc Flat Gate Valves

双闸板平板闸阀

Double Disk Parallel Gate Valves

明杆平行式双闸板闸板

Double Opening Exhaust Valves

双口排气球

Electric Actuated Stop Valves

电动截止阀

Electric Actuated Wedge Gate Valves

电动楔式闸阀

Electric Double Disk Parallel Gate Valves

电动平行式双闸板闸板

Emergeny Cut-off Valves

紧急切断阀

Free Float Type Steam Trap

浮球式疏水阀

Flange Ball Valves

法兰球阀

Flange Gate Valves

法兰闸阀

Flange Globe Valves

法兰截止阀

Gauge Valves

仪表阀

Hard Seal Butterfly Valves

金属密封碟阀

High Temperature Pressure Power Station Gate Valves

高温高压电站闸阀

High Temperature Pressure Power Station Globe Valves

高温高压电站截止阀

Lift Check Valves

升降式止回阀

Lift Check Valves

升降式止回阀

Lining Ball Valves

衬里球阀

Lining Butterfly Valves

衬里碟阀

Lining Check Valves

衬里止回阀

Lining Cock

衬里二通

Lining Globe Valves

衬里截止阀

Lining T-Cock Valves

衬里三通旋塞阀

Liquid Indicator

液位计

LPG Pipe Fitting

液化气管件

Magnetic Co-operate Globe Valves

磁耦合截止阀

Magnetism Forle Pumps

磁力泵

Manual Oil Pumps Valves

手摇油泵(阀)

Meter Needle Type Globe Valves

仪表针形截止阀

Oblique Stop Valves

直流式截止阀

Parallesl Slide Valves

浆液阀

Piping Centrifugal Pumps

管道离心泵

Piping Pumps

管道泵

Piping Safety Valves

管道安全阀

Plunger Globe Valves

柱塞截止阀

Quick Draining Valves

快速排污阀

Restrictor Valves

过流阀(或节流阀)

Safety Valves

安全阀

Screw Pumps

螺杆泵

Scum Gate Valves

排渣闸阀

Single Disc Flat Gate Valves

单闸板平板闸阀

Single Opening Exhaust Valves

单口排气球

Slurry Pumps

泥浆泵

Stop Valves

截止阀

Strainer

过滤器

Submerged Motor Pumps

潜水电泵(排污泵)

Swing Check Valves

旋启式止回阀

Swing Check Valves

旋启式止回阀

Tank Lorry Ball Valves

槽车球阀

T-Cock

三通

Thin Gate Valves

薄型闸阀

Throttle Valves

节流阀

Tiny Drag Slow Shut Check Valves

微阻缓闭止回阀

Under Water Pumps

液下泵

Vacuum Pumps

水力喷射器(真空泵)

Vertical Lift Check Valves

立式止回阀

Wafer Check Valves

对夹式止回阀

Wafer Type Butterfly Valves with Rubber Itning

对夹式衬胶蝶阀

Waste Valves

排污箱(阀)

Water Seal Gate Valves

水封闸阀

Wedge Gate Valves

楔式闸阀

Y Type and Cylinder Filters

Y型筒型过滤器

　

　

2.零部件术语

Axes Guide

轴套

Ball

球、球芯

Ball seat

密封圈

Blowdown Sealing Face

启、阀件密封面

Body

阀体

Bonnet

阀盖

Disc

阀瓣

Mut

螺母

Screw

螺栓

Sealing

密封件

Spring

弹簧

Stem

阀杆

Stem Mut

阀杆螺母

Stem seal

填料

Wedge Disc

闸板

　

　

3.性能术语

Applicable media

适用介质

Applicable tempure

适用温度

Butt Clamp

对夹

Chemical anaiysis

化学成份

Connecting format

连接形式

Double disc

双闸板

Flexible disc

弹性闸板

Flange

法兰

Hoop

卡箍

Inside theread

内螺纹

Material chemical analysis and mechanical capacity

材料化学成份和机械性能

materials

材料

Materials for main parts

主要零件材料

Mechanical capacity

机械性能

Max. Discharging Capacity

最大排水量

Max. Operating Temperature

最高工作温度

Max. Allowable Temperature

最高允许温度

Max. Allowable Pressure

最高允许压力

Model

型号

Name of parts

零件名称

Nominal Pressure

公称压力

Outside theread

外螺纹

Oxidant

氧化性介质

Parallet

平行

Reductant

还原性介质

Rising stem

明杆

Seat testing pressure

压力气密封试验压力

Socket

卡套

Specifications

性能规范

Single disc

单闸板

Solid

刚性

Strengh testing pressure

强度试验压力

Steam , condensate

蒸汽,凝结水

Water,oil,steam

水,温度,气

Wedge

楔式

Welding

焊接

　

　

4.材料术语

Buna-N rubber

丁晴橡胶

Casting aluminium brass

铸铝黄铜

Casting aluminium bronze

铸铝青铜

CHR rubber

氯晴橡胶

Chrominm-molybdenum-vanadium steel

铬钼钒钢

Chromium stainless steel

铬不锈钢

Chromium-molybdenum steel

铬钼钢

Corrugation pad

波形垫

Cuprum alloy

铜合金

Ductile Cast iron

球墨铸铁

Expanded graphite

柔性石墨

Fine Steel Casting iron

优质碳素钢

Fluorous rubber

氟橡胶

Gray Cast iron

灰铸铁

Hayne’s alloy

钴铬钨合金

High tem perature steel

高温钢

Low tem perature steel

低温钢

Nylon

尼龙塑料

Polytetrafluoroethylene

聚四氟乙烯

Pure aluminum

纯铝

Pure cupper

纯铜

Rubbeer graphite board

橡胶石墨板

Spring steel

弹簧钢

Stainless acid-resisting steel

不锈耐酸钢

Stainless and Graphite

不锈钢/石墨

Stainless steel

不锈钢

Steel Casting iron

碳素钢铸件

Shell Test Pressure

壳体试验压力

Service Fluid

工作介质



	

	

	 


